## README
Item | Details
JOSCEX Statistical Post-processing | No PPO/DQN model retraining was performed in this step.
Primary correction | Holm step-down adjustment across the four daily Wilcoxon tests within each scenario.
Baseline seeds | 42, 43, 44, 45, 46
Paired unit | 18 test dates; daily metrics averaged across the five seeds before PPO-DQN pairing.
Significance threshold | Holm-adjusted p < 0.05.
N/A p-values | All paired differences were zero; Wilcoxon p-value is undefined.
Environment sensitivity | ±20% is a local simulator robustness probe, not physical calibration or uncertainty bounds.
Rule-based controller | Fixed-threshold operational reference; no training seed / CI.
Power note | Recorded household electrical power is not HVAC-only power; simulated power/energy are environment proxies.

## Baseline Manuscript
Metric | Unit | PPO mean ± SD (5 seeds) | PPO 95% CI | DQN mean ± SD (5 seeds) | DQN 95% CI | Rule-based fixed reference | Holm-adjusted p (PPO vs DQN) | Interpretation
Total simulated energy | kWh | 18.995 ± 0.320 | [18.599, 19.392] | 19.505 ± 0.116 | [19.361, 19.649] | 17.326 | 3.05e-05 | PPO–DQN difference significant after Holm correction (α=0.05).
Mean comfort deviation | °C | 0.239 ± 0.072 | [0.149, 0.329] | 0.246 ± 0.069 | [0.161, 0.331] | 1.161 | 0.4683 | PPO–DQN difference not significant after Holm correction (α=0.05).
Comfort rate | % | 98.655 ± 0.905 | [97.532, 99.779] | 99.060 ± 0.000 | [99.060, 99.060] | 94.216 | 0.0539 | PPO–DQN difference not significant after Holm correction (α=0.05).
Mean daily episode return | return | -109.556 ± 20.231 | [-134.676, -84.435] | -113.746 ± 18.996 | [-137.333, -90.160] | -354.037 | 0.3081 | PPO–DQN difference not significant after Holm correction (α=0.05).
Population SD of daily episode return | return | 23.336 ± 11.987 | [8.452, 38.220] | 22.035 ± 6.352 | [14.148, 29.922] | 79.570 | N/A | Not tested with daily Wilcoxon.
EEI | percentage points/kWh | 5.195 ± 0.110 | [5.059, 5.331] | 5.079 ± 0.030 | [5.041, 5.117] | 5.438 | N/A | Not tested with daily Wilcoxon.
Peak simulated power | W | 64.494 ± 0.000 | [64.494, 64.494] | 64.494 ± 0.000 | [64.494, 64.494] | 64.494 | N/A | Not tested with daily Wilcoxon.

## Reward Sensitivity
Scenario | Configuration | PPO Energy (kWh) mean ± SD | DQN Energy (kWh) mean ± SD | Holm p — Energy (kWh) | PPO Comfort deviation (°C) mean ± SD | DQN Comfort deviation (°C) mean ± SD | Holm p — Comfort deviation (°C) | PPO Comfort rate (%) mean ± SD | DQN Comfort rate (%) mean ± SD | Holm p — Comfort rate (%) | PPO Daily return mean ± SD | DQN Daily return mean ± SD | Holm p — Daily return
baseline | Baseline: α=1.0, β=0.5, bonus=0.2; original environment | 18.995 ± 0.320 | 19.505 ± 0.116 | 3.05e-05 | 0.239 ± 0.072 | 0.246 ± 0.069 | 0.4683 | 98.655 ± 0.905 | 99.060 ± 0.000 | 0.0539 | -109.556 ± 20.231 | -113.746 ± 18.996 | 0.3081
reward_alpha_0p5 | Reward sensitivity: α=0.5, β=0.5, bonus=0.2 | 18.909 ± 0.355 | 19.186 ± 0.178 | 1.96e-04 | 0.213 ± 0.022 | 0.285 ± 0.072 | 2.29e-05 | 99.060 ± 0.000 | 99.060 ± 0.000 | N/A | -72.798 ± 2.161 | -84.052 ± 10.367 | 2.29e-05
reward_beta_1p0 | Reward sensitivity: α=1.0, β=1.0, bonus=0.2 | 18.580 ± 0.195 | 18.885 ± 0.173 | 4.66e-04 | 0.308 ± 0.130 | 0.451 ± 0.281 | 3.05e-05 | 99.060 ± 0.000 | 98.655 ± 0.905 | 6.52e-04 | -221.996 ± 34.464 | -264.113 ± 75.241 | 3.05e-05
reward_bonus_0p0 | Reward sensitivity: α=1.0, β=0.5, bonus=0.0 | 18.929 ± 0.245 | 19.415 ± 0.116 | 3.05e-05 | 0.526 ± 0.271 | 0.261 ± 0.055 | 3.05e-05 | 96.853 ± 2.883 | 99.060 ± 0.000 | 2.90e-04 | -240.910 ± 73.790 | -171.200 ± 14.895 | 3.05e-05

## Environment Sensitivity
Scenario | Configuration | PPO Energy (kWh) mean ± SD | DQN Energy (kWh) mean ± SD | Holm p — Energy (kWh) | PPO Comfort deviation (°C) mean ± SD | DQN Comfort deviation (°C) mean ± SD | Holm p — Comfort deviation (°C) | PPO Comfort rate (%) mean ± SD | DQN Comfort rate (%) mean ± SD | Holm p — Comfort rate (%) | PPO Daily return mean ± SD | DQN Daily return mean ± SD | Holm p — Daily return
env_response_minus20 | Environment sensitivity: η_ext, η_occ, and cooling coefficients ×0.8 | 18.998 ± 0.151 | 19.500 ± 0.303 | 1.96e-04 | 0.180 ± 0.009 | 0.263 ± 0.051 | 2.29e-05 | 98.712 ± 0.000 | 98.712 ± 0.000 | N/A | -93.384 ± 2.508 | -118.509 ± 13.054 | 2.29e-05
baseline | Baseline: α=1.0, β=0.5, bonus=0.2; original environment | 18.995 ± 0.320 | 19.505 ± 0.116 | 3.05e-05 | 0.239 ± 0.072 | 0.246 ± 0.069 | 0.4683 | 98.655 ± 0.905 | 99.060 ± 0.000 | 0.0539 | -109.556 ± 20.231 | -113.746 ± 18.996 | 0.3081
env_response_plus20 | Environment sensitivity: η_ext, η_occ, and cooling coefficients ×1.2 | 18.873 ± 0.332 | 19.357 ± 0.335 | 5.88e-04 | 0.303 ± 0.065 | 0.332 ± 0.229 | 5.88e-04 | 99.264 ± 0.000 | 97.654 ± 3.601 | 5.88e-04 | -126.009 ± 17.318 | -137.271 ± 62.838 | 6.10e-05

## Holm Wilcoxon
scenario | metric | n_paired_dates | ppo_daily_mean | dqn_daily_mean | median_paired_difference_ppo_minus_dqn | wilcoxon_statistic | p_value_raw | p_value_holm_within_scenario | p_value_holm_global_24_tests | significant_holm_0_05 | significant_global_holm_0_05 | test_note
baseline | daily_energy_kwh | 18 | 1.0553 | 1.0836 | -0.028082 | 0 | 7.6294e-06 | 3.0518e-05 | 0.00016785 | TRUE | TRUE | Two-sided paired Wilcoxon; Holm correction applied across the four daily metrics within this scenario.
baseline | daily_comfort_deviation_c | 18 | 0.32099 | 0.32747 | -0.010879 | 68 | 0.46829 | 0.46829 | 0.46829 | FALSE | FALSE | Two-sided paired Wilcoxon; Holm correction applied across the four daily metrics within this scenario.
baseline | daily_comfort_rate_pct | 18 | 96.8832 | 97.2652 | 0 | 0 | 0.01796 | 0.053881 | 0.053881 | FALSE | FALSE | Two-sided paired Wilcoxon; Holm correction applied across the four daily metrics within this scenario.
baseline | daily_episode_return | 18 | -109.5556 | -113.7465 | 5.1719 | 52 | 0.15405 | 0.30809 | 0.30809 | FALSE | FALSE | Two-sided paired Wilcoxon; Holm correction applied across the four daily metrics within this scenario.
reward_alpha_0p5 | daily_energy_kwh | 18 | 1.0505 | 1.0659 | -0.014646 | 0 | 0.00019609 | 0.00019609 | 0.0021533 | TRUE | TRUE | Two-sided paired Wilcoxon; Holm correction applied across the four daily metrics within this scenario.
reward_alpha_0p5 | daily_comfort_deviation_c | 18 | 0.29591 | 0.36586 | -0.067153 | 0 | 7.6294e-06 | 2.2888e-05 | 0.00016785 | TRUE | TRUE | Two-sided paired Wilcoxon; Holm correction applied across the four daily metrics within this scenario.
reward_alpha_0p5 | daily_comfort_rate_pct | 18 | 97.2652 | 97.2652 | 0 | 0 |  |  |  | FALSE | FALSE | Not applicable: paired differences were all zero, so Wilcoxon p-value is undefined.
reward_alpha_0p5 | daily_episode_return | 18 | -72.7976 | -84.0519 | 11.3033 | 0 | 7.6294e-06 | 2.2888e-05 | 0.00016785 | TRUE | TRUE | Two-sided paired Wilcoxon; Holm correction applied across the four daily metrics within this scenario.
reward_beta_1p0 | daily_energy_kwh | 18 | 1.0322 | 1.0492 | -0.017467 | 1 | 0.00023283 | 0.00046566 | 0.0021533 | TRUE | TRUE | Two-sided paired Wilcoxon; Holm correction applied across the four daily metrics within this scenario.
reward_beta_1p0 | daily_comfort_deviation_c | 18 | 0.38871 | 0.53151 | -0.14859 | 0 | 7.6294e-06 | 3.0518e-05 | 0.00016785 | TRUE | TRUE | Two-sided paired Wilcoxon; Holm correction applied across the four daily metrics within this scenario.
reward_beta_1p0 | daily_comfort_rate_pct | 18 | 97.2652 | 96.6965 | 0.34722 | 0 | 0.00065167 | 0.00065167 | 0.0026703 | TRUE | TRUE | Two-sided paired Wilcoxon; Holm correction applied across the four daily metrics within this scenario.
reward_beta_1p0 | daily_episode_return | 18 | -221.9961 | -264.1125 | 46.9979 | 0 | 7.6294e-06 | 3.0518e-05 | 0.00016785 | TRUE | TRUE | Two-sided paired Wilcoxon; Holm correction applied across the four daily metrics within this scenario.
reward_bonus_0p0 | daily_energy_kwh | 18 | 1.0516 | 1.0786 | -0.022036 | 0 | 7.6294e-06 | 3.0518e-05 | 0.00016785 | TRUE | TRUE | Two-sided paired Wilcoxon; Holm correction applied across the four daily metrics within this scenario.
reward_bonus_0p0 | daily_comfort_deviation_c | 18 | 0.59433 | 0.34057 | 0.24785 | 0 | 7.6294e-06 | 3.0518e-05 | 0.00016785 | TRUE | TRUE | Two-sided paired Wilcoxon; Holm correction applied across the four daily metrics within this scenario.
reward_bonus_0p0 | daily_comfort_rate_pct | 18 | 95.1747 | 97.2652 | -2.1181 | 0 | 0.00028962 | 0.00028962 | 0.0021533 | TRUE | TRUE | Two-sided paired Wilcoxon; Holm correction applied across the four daily metrics within this scenario.
reward_bonus_0p0 | daily_episode_return | 18 | -240.9097 | -171.1997 | -69.1978 | 0 | 7.6294e-06 | 3.0518e-05 | 0.00016785 | TRUE | TRUE | Two-sided paired Wilcoxon; Holm correction applied across the four daily metrics within this scenario.
env_response_minus20 | daily_energy_kwh | 18 | 1.0554 | 1.0833 | -0.02647 | 0 | 0.00019575 | 0.00019575 | 0.0021533 | TRUE | TRUE | Two-sided paired Wilcoxon; Holm correction applied across the four daily metrics within this scenario.
env_response_minus20 | daily_comfort_deviation_c | 18 | 0.2885 | 0.36756 | -0.081823 | 0 | 7.6294e-06 | 2.2888e-05 | 0.00016785 | TRUE | TRUE | Two-sided paired Wilcoxon; Holm correction applied across the four daily metrics within this scenario.
env_response_minus20 | daily_comfort_rate_pct | 18 | 96.3216 | 96.3216 | 0 | 0 |  |  |  | FALSE | FALSE | Not applicable: paired differences were all zero, so Wilcoxon p-value is undefined.
env_response_minus20 | daily_episode_return | 18 | -93.3835 | -118.509 | 26.0274 | 0 | 7.6294e-06 | 2.2888e-05 | 0.00016785 | TRUE | TRUE | Two-sided paired Wilcoxon; Holm correction applied across the four daily metrics within this scenario.
env_response_plus20 | daily_energy_kwh | 18 | 1.0485 | 1.0754 | -0.027141 | 0 | 0.00019609 | 0.00058828 | 0.0021533 | TRUE | TRUE | Two-sided paired Wilcoxon; Holm correction applied across the four daily metrics within this scenario.
env_response_plus20 | daily_comfort_deviation_c | 18 | 0.36586 | 0.39264 | -0.020949 | 12 | 0.00053406 | 0.00058828 | 0.0026703 | TRUE | TRUE | Two-sided paired Wilcoxon; Holm correction applied across the four daily metrics within this scenario.
env_response_plus20 | daily_comfort_rate_pct | 18 | 97.7663 | 96.2424 | 1.5972 | 0 | 0.00029248 | 0.00058828 | 0.0021533 | TRUE | TRUE | Two-sided paired Wilcoxon; Holm correction applied across the four daily metrics within this scenario.
env_response_plus20 | daily_episode_return | 18 | -126.0093 | -137.271 | 10.1221 | 1 | 1.5259e-05 | 6.1035e-05 | 0.00018311 | TRUE | TRUE | Two-sided paired Wilcoxon; Holm correction applied across the four daily metrics within this scenario.

## Training Time
Algorithm | n_seeds | Mean training time (s) | SD (s) | 95% CI (s) | Mean completed timesteps | Note
DQN | 5 | 872.066 | 14.928 | [853.531, 890.602] | 500000 | DQN mean wall-clock training time was 18.9% lower than PPO in the baseline five-seed runs.
PPO | 5 | 1075.308 | 22.853 | [1046.932, 1103.684] | 501760 | PPO exceeds the requested 500,000 timesteps because Stable-Baselines3 completes a full rollout of n_steps=2048.

## All Multi-seed Summary
scenario | algorithm | metric | n_seeds | mean | sd | ci95_low | ci95_high
baseline | DQN | total_simulated_energy_kwh | 5 | 19.5047 | 0.11612 | 19.3606 | 19.6489
baseline | DQN | mean_comfort_deviation_c | 5 | 0.24572 | 0.068596 | 0.16054 | 0.33089
baseline | DQN | comfort_rate_pct | 5 | 99.0599 | 0 | 99.0599 | 99.0599
baseline | DQN | mean_daily_episode_return | 5 | -113.7465 | 18.9962 | -137.3333 | -90.1596
baseline | DQN | population_sd_daily_episode_return | 5 | 22.035 | 6.3521 | 14.1478 | 29.9222
baseline | DQN | eei_pct_points_per_kwh | 5 | 5.0789 | 0.030278 | 5.0413 | 5.1165
baseline | DQN | peak_simulated_power_w | 5 | 64.4944 | 0 | 64.4944 | 64.4944
baseline | PPO | total_simulated_energy_kwh | 5 | 18.9955 | 0.31964 | 18.5986 | 19.3924
baseline | PPO | mean_comfort_deviation_c | 5 | 0.23917 | 0.072254 | 0.14946 | 0.32889
baseline | PPO | comfort_rate_pct | 5 | 98.6552 | 0.90485 | 97.5317 | 99.7787
baseline | PPO | mean_daily_episode_return | 5 | -109.5556 | 20.2314 | -134.6762 | -84.435
baseline | PPO | population_sd_daily_episode_return | 5 | 23.3359 | 11.9874 | 8.4516 | 38.2202
baseline | PPO | eei_pct_points_per_kwh | 5 | 5.1949 | 0.10963 | 5.0588 | 5.3311
baseline | PPO | peak_simulated_power_w | 5 | 64.4944 | 0 | 64.4944 | 64.4944
env_response_minus20 | DQN | total_simulated_energy_kwh | 5 | 19.4999 | 0.30281 | 19.1239 | 19.8759
env_response_minus20 | DQN | mean_comfort_deviation_c | 5 | 0.26263 | 0.0507 | 0.19968 | 0.32559
env_response_minus20 | DQN | comfort_rate_pct | 5 | 98.7124 | 0 | 98.7124 | 98.7124
env_response_minus20 | DQN | mean_daily_episode_return | 5 | -118.509 | 13.0543 | -134.7181 | -102.3
env_response_minus20 | DQN | population_sd_daily_episode_return | 5 | 21.4452 | 3.6911 | 16.8621 | 26.0283
env_response_minus20 | DQN | eei_pct_points_per_kwh | 5 | 5.0632 | 0.07984 | 4.9641 | 5.1623
env_response_minus20 | DQN | peak_simulated_power_w | 5 | 64.4944 | 0 | 64.4944 | 64.4944
env_response_minus20 | PPO | total_simulated_energy_kwh | 5 | 18.9979 | 0.15097 | 18.8105 | 19.1854
env_response_minus20 | PPO | mean_comfort_deviation_c | 5 | 0.17975 | 0.0087547 | 0.16888 | 0.19062
env_response_minus20 | PPO | comfort_rate_pct | 5 | 98.7124 | 0 | 98.7124 | 98.7124
env_response_minus20 | PPO | mean_daily_episode_return | 5 | -93.3835 | 2.5077 | -96.4972 | -90.2698
env_response_minus20 | PPO | population_sd_daily_episode_return | 5 | 14.8114 | 0.53327 | 14.1492 | 15.4735
env_response_minus20 | PPO | eei_pct_points_per_kwh | 5 | 5.1962 | 0.041478 | 5.1447 | 5.2477
env_response_minus20 | PPO | peak_simulated_power_w | 5 | 64.4944 | 0 | 64.4944 | 64.4944
env_response_plus20 | DQN | total_simulated_energy_kwh | 5 | 19.3575 | 0.33487 | 18.9417 | 19.7733
env_response_plus20 | DQN | mean_comfort_deviation_c | 5 | 0.33224 | 0.2291 | 0.047777 | 0.61671
env_response_plus20 | DQN | comfort_rate_pct | 5 | 97.6538 | 3.6011 | 93.1824 | 102.1252
env_response_plus20 | DQN | mean_daily_episode_return | 5 | -137.271 | 62.8383 | -215.295 | -59.2469
env_response_plus20 | DQN | population_sd_daily_episode_return | 5 | 30.1188 | 19.6865 | 5.6748 | 54.5629
env_response_plus20 | DQN | eei_pct_points_per_kwh | 5 | 5.0437 | 0.11805 | 4.8971 | 5.1902
env_response_plus20 | DQN | peak_simulated_power_w | 5 | 64.4944 | 0 | 64.4944 | 64.4944
env_response_plus20 | PPO | total_simulated_energy_kwh | 5 | 18.8732 | 0.33209 | 18.4609 | 19.2856
env_response_plus20 | PPO | mean_comfort_deviation_c | 5 | 0.30324 | 0.065009 | 0.22252 | 0.38396
env_response_plus20 | PPO | comfort_rate_pct | 5 | 99.2643 | 0 | 99.2643 | 99.2643
env_response_plus20 | PPO | mean_daily_episode_return | 5 | -126.0093 | 17.3182 | -147.5128 | -104.5059
env_response_plus20 | PPO | population_sd_daily_episode_return | 5 | 25.5558 | 5.5105 | 18.7136 | 32.398
env_response_plus20 | PPO | eei_pct_points_per_kwh | 5 | 5.2608 | 0.092615 | 5.1458 | 5.3758
env_response_plus20 | PPO | peak_simulated_power_w | 5 | 64.4944 | 0 | 64.4944 | 64.4944
reward_alpha_0p5 | DQN | total_simulated_energy_kwh | 5 | 19.1863 | 0.17787 | 18.9654 | 19.4071
reward_alpha_0p5 | DQN | mean_comfort_deviation_c | 5 | 0.28506 | 0.071923 | 0.19576 | 0.37437
reward_alpha_0p5 | DQN | comfort_rate_pct | 5 | 99.0599 | 0 | 99.0599 | 99.0599
reward_alpha_0p5 | DQN | mean_daily_episode_return | 5 | -84.0519 | 10.3674 | -96.9248 | -71.179
reward_alpha_0p5 | DQN | population_sd_daily_episode_return | 5 | 15.98 | 2.5592 | 12.8024 | 19.1576
reward_alpha_0p5 | DQN | eei_pct_points_per_kwh | 5 | 5.1634 | 0.048467 | 5.1032 | 5.2236
reward_alpha_0p5 | DQN | peak_simulated_power_w | 5 | 64.4944 | 0 | 64.4944 | 64.4944
reward_alpha_0p5 | PPO | total_simulated_energy_kwh | 5 | 18.909 | 0.35453 | 18.4688 | 19.3492
reward_alpha_0p5 | PPO | mean_comfort_deviation_c | 5 | 0.21281 | 0.021895 | 0.18562 | 0.23999
reward_alpha_0p5 | PPO | comfort_rate_pct | 5 | 99.0599 | 0 | 99.0599 | 99.0599
reward_alpha_0p5 | PPO | mean_daily_episode_return | 5 | -72.7976 | 2.1611 | -75.4809 | -70.1142
reward_alpha_0p5 | PPO | population_sd_daily_episode_return | 5 | 13.2171 | 0.58461 | 12.4912 | 13.943
reward_alpha_0p5 | PPO | eei_pct_points_per_kwh | 5 | 5.2403 | 0.10005 | 5.116 | 5.3645
reward_alpha_0p5 | PPO | peak_simulated_power_w | 5 | 64.4944 | 0 | 64.4944 | 64.4944
reward_beta_1p0 | DQN | total_simulated_energy_kwh | 5 | 18.8848 | 0.17321 | 18.6697 | 19.0999
reward_beta_1p0 | DQN | mean_comfort_deviation_c | 5 | 0.45079 | 0.28109 | 0.10177 | 0.79981
reward_beta_1p0 | DQN | comfort_rate_pct | 5 | 98.6552 | 0.90485 | 97.5317 | 99.7787
reward_beta_1p0 | DQN | mean_daily_episode_return | 5 | -264.1125 | 75.2409 | -357.5364 | -170.6886
reward_beta_1p0 | DQN | population_sd_daily_episode_return | 5 | 55.8373 | 20.1777 | 30.7834 | 80.8912
reward_beta_1p0 | DQN | eei_pct_points_per_kwh | 5 | 5.2241 | 0.0056374 | 5.2171 | 5.2311
reward_beta_1p0 | DQN | peak_simulated_power_w | 5 | 64.4944 | 0 | 64.4944 | 64.4944
reward_beta_1p0 | PPO | total_simulated_energy_kwh | 5 | 18.5798 | 0.19454 | 18.3382 | 18.8213
reward_beta_1p0 | PPO | mean_comfort_deviation_c | 5 | 0.30826 | 0.12987 | 0.147 | 0.46952
reward_beta_1p0 | PPO | comfort_rate_pct | 5 | 99.0599 | 0 | 99.0599 | 99.0599
reward_beta_1p0 | PPO | mean_daily_episode_return | 5 | -221.9961 | 34.4637 | -264.7884 | -179.2038
reward_beta_1p0 | PPO | population_sd_daily_episode_return | 5 | 44.2392 | 8.3827 | 33.8307 | 54.6478
reward_beta_1p0 | PPO | eei_pct_points_per_kwh | 5 | 5.3321 | 0.055529 | 5.2631 | 5.401
reward_beta_1p0 | PPO | peak_simulated_power_w | 5 | 64.4944 | 0 | 64.4944 | 64.4944
reward_bonus_0p0 | DQN | total_simulated_energy_kwh | 5 | 19.415 | 0.1162 | 19.2707 | 19.5593
reward_bonus_0p0 | DQN | mean_comfort_deviation_c | 5 | 0.26066 | 0.05487 | 0.19253 | 0.32879
reward_bonus_0p0 | DQN | comfort_rate_pct | 5 | 99.0599 | 0 | 99.0599 | 99.0599
reward_bonus_0p0 | DQN | mean_daily_episode_return | 5 | -171.1997 | 14.8946 | -189.6938 | -152.7057
reward_bonus_0p0 | DQN | population_sd_daily_episode_return | 5 | 34.6488 | 5.4536 | 27.8773 | 41.4204
reward_bonus_0p0 | DQN | eei_pct_points_per_kwh | 5 | 5.1024 | 0.030421 | 5.0646 | 5.1402
reward_bonus_0p0 | DQN | peak_simulated_power_w | 5 | 64.4944 | 0 | 64.4944 | 64.4944
reward_bonus_0p0 | PPO | total_simulated_energy_kwh | 5 | 18.9286 | 0.24464 | 18.6248 | 19.2323
reward_bonus_0p0 | PPO | mean_comfort_deviation_c | 5 | 0.52635 | 0.27095 | 0.18992 | 0.86278
reward_bonus_0p0 | PPO | comfort_rate_pct | 5 | 96.8526 | 2.8833 | 93.2725 | 100.4328
reward_bonus_0p0 | PPO | mean_daily_episode_return | 5 | -240.9097 | 73.79 | -332.532 | -149.2873
reward_bonus_0p0 | PPO | population_sd_daily_episode_return | 5 | 58.4271 | 20.7872 | 32.6164 | 84.2378
reward_bonus_0p0 | PPO | eei_pct_points_per_kwh | 5 | 5.1179 | 0.18442 | 4.8889 | 5.3469
reward_bonus_0p0 | PPO | peak_simulated_power_w | 5 | 64.4944 | 0 | 64.4944 | 64.4944

## Seed-level Results
scenario | seed | algorithm | total_simulated_energy_kwh | mean_comfort_deviation_c | comfort_rate_pct | mean_daily_episode_return | population_sd_daily_episode_return | eei_pct_points_per_kwh | peak_simulated_power_w | n_test_dates | n_test_steps
baseline | 42 | PPO | 18.5542 | 0.20815 | 99.0599 | -98.6219 | 16.8887 | 5.3389 | 64.4944 | 18 | 4893
baseline | 42 | DQN | 19.4666 | 0.17452 | 99.0599 | -94.1956 | 16.3034 | 5.0887 | 64.4944 | 18 | 4893
baseline | 43 | PPO | 19.3255 | 0.17753 | 99.0599 | -94.2841 | 16.0892 | 5.1259 | 64.4944 | 18 | 4893
baseline | 43 | DQN | 19.5579 | 0.33547 | 99.0599 | -138.4194 | 26.2728 | 5.0649 | 64.4944 | 18 | 4893
baseline | 44 | PPO | 19.1938 | 0.20669 | 99.0599 | -101.5314 | 19.2565 | 5.161 | 64.4944 | 18 | 4893
baseline | 44 | DQN | 19.5096 | 0.19477 | 99.0599 | -99.9222 | 17.4702 | 5.0775 | 64.4944 | 18 | 4893
baseline | 45 | PPO | 19.128 | 0.36189 | 97.0366 | -144.4785 | 44.5944 | 5.073 | 64.4944 | 18 | 4893
baseline | 45 | DQN | 19.3376 | 0.22602 | 99.0599 | -107.5273 | 19.0895 | 5.1227 | 64.4944 | 18 | 4893
baseline | 46 | PPO | 18.7759 | 0.2416 | 99.0599 | -108.8619 | 19.8508 | 5.2759 | 64.4944 | 18 | 4893
baseline | 46 | DQN | 19.652 | 0.29781 | 99.0599 | -128.6678 | 31.0391 | 5.0407 | 64.4944 | 18 | 4893
reward_alpha_0p5 | 42 | PPO | 19.0863 | 0.18253 | 99.0599 | -69.5994 | 12.3531 | 5.1901 | 64.4944 | 18 | 4893
reward_alpha_0p5 | 42 | DQN | 19.2583 | 0.22891 | 99.0599 | -76.7915 | 14.2462 | 5.1437 | 64.4944 | 18 | 4893
reward_alpha_0p5 | 43 | PPO | 19.1925 | 0.20187 | 99.0599 | -72.776 | 13.0193 | 5.1614 | 64.4944 | 18 | 4893
reward_alpha_0p5 | 43 | DQN | 19.2825 | 0.30828 | 99.0599 | -87.7041 | 16.5575 | 5.1373 | 64.4944 | 18 | 4893
reward_alpha_0p5 | 44 | PPO | 18.8418 | 0.2141 | 99.0599 | -72.6264 | 13.4114 | 5.2575 | 64.4944 | 18 | 4893
reward_alpha_0p5 | 44 | DQN | 18.8687 | 0.20507 | 99.0599 | -71.5375 | 12.9407 | 5.25 | 64.4944 | 18 | 4893
reward_alpha_0p5 | 45 | PPO | 18.3191 | 0.2392 | 99.0599 | -73.3367 | 13.3615 | 5.4075 | 64.4944 | 18 | 4893
reward_alpha_0p5 | 45 | DQN | 19.2664 | 0.29559 | 99.0599 | -85.896 | 16.5256 | 5.1416 | 64.4944 | 18 | 4893
reward_alpha_0p5 | 46 | PPO | 19.1051 | 0.22633 | 99.0599 | -75.6493 | 13.9402 | 5.185 | 64.4944 | 18 | 4893
reward_alpha_0p5 | 46 | DQN | 19.2556 | 0.38748 | 99.0599 | -98.3303 | 19.63 | 5.1445 | 64.4944 | 18 | 4893
reward_beta_1p0 | 42 | PPO | 18.4924 | 0.53442 | 99.0599 | -282.57 | 58.8915 | 5.3568 | 64.4944 | 18 | 4893
reward_beta_1p0 | 42 | DQN | 18.9694 | 0.27467 | 99.0599 | -216.8925 | 44.07 | 5.2221 | 64.4944 | 18 | 4893
reward_beta_1p0 | 43 | PPO | 18.397 | 0.26217 | 99.0599 | -207.5775 | 40.4637 | 5.3846 | 64.4944 | 18 | 4893
reward_beta_1p0 | 43 | DQN | 18.5771 | 0.89826 | 97.0366 | -383.4495 | 88.0347 | 5.2235 | 64.4944 | 18 | 4893
reward_beta_1p0 | 44 | PPO | 18.6953 | 0.24147 | 99.0599 | -205.0353 | 40.4127 | 5.2986 | 64.4944 | 18 | 4893
reward_beta_1p0 | 44 | DQN | 18.9493 | 0.56018 | 99.0599 | -294.2946 | 63.4395 | 5.2276 | 64.4944 | 18 | 4893
reward_beta_1p0 | 45 | PPO | 18.8633 | 0.21087 | 99.0599 | -198.4529 | 38.2001 | 5.2515 | 64.4944 | 18 | 4893
reward_beta_1p0 | 45 | DQN | 18.9909 | 0.27369 | 99.0599 | -216.8483 | 42.9856 | 5.2162 | 64.4944 | 18 | 4893
reward_beta_1p0 | 46 | PPO | 18.4508 | 0.29238 | 99.0599 | -216.345 | 43.2282 | 5.3689 | 64.4944 | 18 | 4893
reward_beta_1p0 | 46 | DQN | 18.9372 | 0.24715 | 99.0599 | -209.0777 | 40.6566 | 5.231 | 64.4944 | 18 | 4893
reward_bonus_0p0 | 42 | PPO | 18.5072 | 0.44536 | 99.0599 | -216.7168 | 53.7745 | 5.3525 | 64.4944 | 18 | 4893
reward_bonus_0p0 | 42 | DQN | 19.3604 | 0.24537 | 99.0599 | -166.762 | 32.8603 | 5.1166 | 64.4944 | 18 | 4893
reward_bonus_0p0 | 43 | PPO | 18.9493 | 0.90329 | 92.0294 | -343.4818 | 83.1019 | 4.8566 | 64.4944 | 18 | 4893
reward_bonus_0p0 | 43 | DQN | 19.4639 | 0.35366 | 99.0599 | -196.7326 | 44.0704 | 5.0894 | 64.4944 | 18 | 4893
reward_bonus_0p0 | 44 | PPO | 19.0998 | 0.39503 | 97.3431 | -206.0983 | 51.3841 | 5.0966 | 64.4944 | 18 | 4893
reward_bonus_0p0 | 44 | DQN | 19.3551 | 0.25512 | 99.0599 | -169.3835 | 34.1612 | 5.118 | 64.4944 | 18 | 4893
reward_bonus_0p0 | 45 | PPO | 19.0971 | 0.68301 | 96.7709 | -284.366 | 73.8932 | 5.0673 | 64.4944 | 18 | 4893
reward_bonus_0p0 | 45 | DQN | 19.3013 | 0.24078 | 99.0599 | -165.2094 | 31.8622 | 5.1323 | 64.4944 | 18 | 4893
reward_bonus_0p0 | 46 | PPO | 18.9896 | 0.20505 | 99.0599 | -153.8855 | 29.9819 | 5.2165 | 64.4944 | 18 | 4893
reward_bonus_0p0 | 46 | DQN | 19.5942 | 0.20836 | 99.0599 | -157.911 | 30.2901 | 5.0556 | 64.4944 | 18 | 4893
env_response_minus20 | 42 | PPO | 18.7652 | 0.18361 | 98.7124 | -93.2296 | 14.919 | 5.2604 | 64.4944 | 18 | 4893
env_response_minus20 | 42 | DQN | 18.9909 | 0.32299 | 98.7124 | -132.2854 | 24.596 | 5.1979 | 64.4944 | 18 | 4893
env_response_minus20 | 43 | PPO | 19.0756 | 0.17631 | 98.7124 | -92.8501 | 14.4201 | 5.1748 | 64.4944 | 18 | 4893
env_response_minus20 | 43 | DQN | 19.734 | 0.31213 | 98.7124 | -133.1745 | 26.2294 | 5.0022 | 64.4944 | 18 | 4893
env_response_minus20 | 44 | PPO | 19.1643 | 0.18113 | 98.7124 | -94.6193 | 15.1853 | 5.1509 | 64.4944 | 18 | 4893
env_response_minus20 | 44 | DQN | 19.4961 | 0.2314 | 98.7124 | -109.9985 | 18.5025 | 5.0632 | 64.4944 | 18 | 4893
env_response_minus20 | 45 | PPO | 18.952 | 0.16709 | 98.7124 | -89.7058 | 14.1224 | 5.2086 | 64.4944 | 18 | 4893
env_response_minus20 | 45 | DQN | 19.5553 | 0.23115 | 98.7124 | -110.2366 | 19.4788 | 5.0479 | 64.4944 | 18 | 4893
env_response_minus20 | 46 | PPO | 19.0326 | 0.1906 | 98.7124 | -96.5129 | 15.41 | 5.1865 | 64.4944 | 18 | 4893
env_response_minus20 | 46 | DQN | 19.7232 | 0.2155 | 98.7124 | -106.85 | 18.4194 | 5.0049 | 64.4944 | 18 | 4893
env_response_plus20 | 42 | PPO | 18.6483 | 0.2348 | 99.2643 | -106.2406 | 19.5926 | 5.323 | 64.4944 | 18 | 4893
env_response_plus20 | 42 | DQN | 19.3174 | 0.23799 | 99.2643 | -110.5682 | 20.6283 | 5.1386 | 64.4944 | 18 | 4893
env_response_plus20 | 43 | PPO | 18.4535 | 0.34354 | 99.2643 | -134.793 | 28.7427 | 5.3792 | 64.4944 | 18 | 4893
env_response_plus20 | 43 | DQN | 18.8257 | 0.72727 | 91.2119 | -245.4064 | 64.0389 | 4.8451 | 64.4944 | 18 | 4893
env_response_plus20 | 44 | PPO | 19.3013 | 0.22966 | 99.2643 | -108.2185 | 20.174 | 5.1429 | 64.4944 | 18 | 4893
env_response_plus20 | 44 | DQN | 19.3792 | 0.15818 | 99.2643 | -89.191 | 15.8455 | 5.1222 | 64.4944 | 18 | 4893
env_response_plus20 | 45 | PPO | 19.0433 | 0.35578 | 99.2643 | -141.169 | 32.2335 | 5.2125 | 64.4944 | 18 | 4893
env_response_plus20 | 45 | DQN | 19.5539 | 0.21104 | 99.2643 | -104.4636 | 19.8307 | 5.0764 | 64.4944 | 18 | 4893
env_response_plus20 | 46 | PPO | 18.9197 | 0.35245 | 99.2643 | -139.6257 | 27.036 | 5.2466 | 64.4944 | 18 | 4893
env_response_plus20 | 46 | DQN | 19.7111 | 0.32673 | 99.2643 | -136.7257 | 30.2508 | 5.036 | 64.4944 | 18 | 4893

## Rule-based Reference
scenario | algorithm | total_simulated_energy_kwh | mean_comfort_deviation_c | comfort_rate_pct | mean_daily_episode_return | population_sd_daily_episode_return | eei_pct_points_per_kwh | peak_simulated_power_w | n_test_dates | n_test_steps
baseline | Rule-Based | 17.3262 | 1.1614 | 94.2162 | -354.0367 | 79.5699 | 5.4378 | 64.4944 | 18 | 4893